## Summary
CHAMBER ENVIRONMENTAL MODEL - PUBLICATION SUMMARY
DATASET
Total trials recorded | 22
Trials included in model | 13 | (59%)
Trials excluded | 9 | (41%)
Analysis time window | 5-45 min
Temporal resolution | 1 second
MODEL ACCURACY (5-45 min window)
Metric | Temperature | Humidity | Unit
RMSE (mean ± SD) | 0.72 ± 0.35 | 1.86 ± 0.44 | °C / %RH
MAE (mean ± SD) | 0.66 ± 0.36 | 1.56 ± 0.45 | °C / %RH
NRMSE | 3.8% | 10.2%
Model SD | 0.74 | 1.49 | °C / %RH
Model SEM | 0.26 | 0.48 | °C / %RH
EXCLUSION CRITERIA
Trial ID | Exclusion Reason | Criterion
21_54_01 | Statistical outlier | Humidity RMSE 4.43% (>2 SD)
21_54_56 | Anomalous kinetics | Peak at 4 min, no plateau
21_55_18 | Statistical outlier | Combined deviation >1.5 SD
21_56_15 | Incomplete evaporation | Final humidity 48.4% (>40%)
21_56_27 | Humidity outlier | Max 62.5% (>2 SD above mean)
21_57_18 | Statistical outlier | Temp RMSE 4.12°C (>2 SD)
21_57_39 | Temperature outlier | Min 6.5°C (>2 SD below mean)
21_57_47 | Equipment failure | Peltier did not recover
21_57_54 | Model deviation | NRMSE 47% (>25% threshold)

## Trial Metrics
INDIVIDUAL TRIAL DEVIATION METRICS
Trial | Temp RMSE (°C) | Temp MAE (°C) | Hum RMSE (%) | Hum MAE (%)
21_53_54 | 1.198 | 1.151 | 1.85 | 1.689
21_54_11 | 0.345 | 0.247 | 1.517 | 1.429
21_54_27 | 0.289 | 0.263 | 2.562 | 2.349
21_54_50 | 0.989 | 0.966 | 1.464 | 1.209
21_55_04 | 0.645 | 0.561 | 1.152 | 0.822
21_55_10 | 0.739 | 0.689 | 2.759 | 2.321
21_55_27 | 0.828 | 0.797 | 2.048 | 1.798
21_55_35 | 0.876 | 0.821 | 2.113 | 1.961
21_55_52 | 0.68 | 0.631 | 1.616 | 1.51
21_56_06 | 0.396 | 0.369 | 1.938 | 1.547
21_56_22 | 0.373 | 0.289 | 1.7 | 1.24
21_57_06 | 1.526 | 1.422 | 1.417 | 0.978
21_57_25 | 0.432 | 0.313 | 2.028 | 1.447
MEAN | 0.717 | 0.655 | 1.859 | 1.562
SD | 0.368 | 0.37 | 0.456 | 0.463

## Model Data
TIME SERIES MODEL DATA (5-second intervals)
Time_min | Temp_mean | Temp_std | Temp_sem | Temp_CI95_low | Temp_CI95_high | Temp_n | Hum_mean | Hum_std | Hum_sem | Hum_CI95_low | Hum_CI95_high | Hum_n
0 | 27.292 | 1.138 | 0.316 | 26.673 | 27.911 | 13 | 29.146 | 1.026 | 0.285 | 28.588 | 29.704 | 13
0.083333 | 27.123 | 1.319 | 0.366 | 26.406 | 27.84 | 13 | 29.215 | 1.124 | 0.312 | 28.604 | 29.827 | 13
0.16667 | 26.492 | 1.495 | 0.415 | 25.679 | 27.305 | 13 | 29.277 | 1.19 | 0.33 | 28.63 | 29.924 | 13
0.25 | 24.569 | 1.718 | 0.476 | 23.636 | 25.503 | 13 | 29.377 | 1.187 | 0.329 | 28.732 | 30.022 | 13
0.33333 | 22.377 | 1.863 | 0.517 | 21.364 | 23.39 | 13 | 29.762 | 1.18 | 0.327 | 29.12 | 30.403 | 13
0.41667 | 20.515 | 1.55 | 0.43 | 19.673 | 21.358 | 13 | 30.354 | 1.243 | 0.345 | 29.678 | 31.03 | 13
0.5 | 18.792 | 1.511 | 0.419 | 17.971 | 19.614 | 13 | 31.1 | 1.53 | 0.424 | 30.268 | 31.932 | 13
0.58333 | 17.023 | 1.522 | 0.422 | 16.196 | 17.851 | 13 | 32.2 | 1.818 | 0.504 | 31.212 | 33.188 | 13
0.66667 | 15.531 | 1.451 | 0.403 | 14.742 | 16.32 | 13 | 33.069 | 1.851 | 0.513 | 32.063 | 34.076 | 13
0.75 | 14.462 | 1.208 | 0.335 | 13.805 | 15.118 | 13 | 33.485 | 1.957 | 0.543 | 32.421 | 34.549 | 13
0.83333 | 13.523 | 1.189 | 0.33 | 12.877 | 14.17 | 13 | 33.992 | 2.047 | 0.568 | 32.88 | 35.105 | 13
0.91667 | 12.631 | 1.248 | 0.346 | 11.952 | 13.309 | 13 | 34.508 | 2.008 | 0.557 | 33.416 | 35.599 | 13
1 | 11.938 | 1.223 | 0.339 | 11.274 | 12.603 | 13 | 35.169 | 2.047 | 0.568 | 34.057 | 36.282 | 13
1.0833 | 11.4 | 1.064 | 0.295 | 10.822 | 11.978 | 13 | 35.562 | 2.313 | 0.642 | 34.304 | 36.819 | 13
1.1667 | 10.962 | 1.077 | 0.299 | 10.376 | 11.547 | 13 | 35.938 | 2.49 | 0.691 | 34.585 | 37.292 | 13
1.25 | 10.554 | 1.135 | 0.315 | 9.937 | 11.171 | 13 | 36.508 | 2.427 | 0.673 | 35.189 | 37.827 | 13
1.3333 | 10.254 | 1.092 | 0.303 | 9.66 | 10.848 | 13 | 37 | 2.393 | 0.664 | 35.699 | 38.301 | 13
1.4167 | 10.008 | 1.013 | 0.281 | 9.457 | 10.558 | 13 | 37.346 | 2.427 | 0.673 | 36.027 | 38.665 | 13
1.5 | 9.823 | 1.027 | 0.285 | 9.265 | 10.382 | 13 | 37.569 | 2.397 | 0.665 | 36.266 | 38.872 | 13
1.5833 | 9.646 | 1.031 | 0.286 | 9.086 | 10.206 | 13 | 37.862 | 2.415 | 0.67 | 36.549 | 39.174 | 13
1.6667 | 9.523 | 1.042 | 0.289 | 8.957 | 10.089 | 13 | 38.238 | 2.517 | 0.698 | 36.87 | 39.607 | 13
1.75 | 9.431 | 0.983 | 0.273 | 8.896 | 9.965 | 13 | 38.523 | 2.599 | 0.721 | 37.11 | 39.936 | 13
1.8333 | 9.369 | 1 | 0.277 | 8.826 | 9.913 | 13 | 38.615 | 2.686 | 0.745 | 37.155 | 40.076 | 13
1.9167 | 9.292 | 1 | 0.277 | 8.749 | 9.836 | 13 | 38.885 | 2.823 | 0.783 | 37.35 | 40.419 | 13
2 | 9.231 | 0.975 | 0.27 | 8.701 | 9.761 | 13 | 39.185 | 2.891 | 0.802 | 37.613 | 40.756 | 13
2.0833 | 9.169 | 0.97 | 0.269 | 8.642 | 9.696 | 13 | 39.523 | 2.97 | 0.824 | 37.908 | 41.138 | 13
2.1667 | 9.154 | 0.965 | 0.268 | 8.629 | 9.679 | 13 | 39.738 | 2.979 | 0.826 | 38.119 | 41.358 | 13
2.25 | 9.115 | 0.967 | 0.268 | 8.59 | 9.641 | 13 | 39.908 | 2.952 | 0.819 | 38.303 | 41.512 | 13
2.3333 | 9.1 | 0.957 | 0.265 | 8.58 | 9.62 | 13 | 40.1 | 3.068 | 0.851 | 38.432 | 41.768 | 13
2.4167 | 9.092 | 0.964 | 0.267 | 8.569 | 9.616 | 13 | 40.423 | 3.049 | 0.846 | 38.766 | 42.08 | 13
2.5 | 9.092 | 0.964 | 0.267 | 8.569 | 9.616 | 13 | 40.631 | 3.042 | 0.844 | 38.977 | 42.285 | 13
2.5833 | 9.092 | 0.937 | 0.26 | 8.583 | 9.602 | 13 | 41.2 | 3.085 | 0.856 | 39.523 | 42.877 | 13
2.6667 | 9.1 | 0.945 | 0.262 | 8.586 | 9.614 | 13 | 41.446 | 3.128 | 0.868 | 39.746 | 43.147 | 13
2.75 | 9.085 | 0.949 | 0.263 | 8.569 | 9.6 | 13 | 41.623 | 3.037 | 0.842 | 39.972 | 43.274 | 13
2.8333 | 9.085 | 0.949 | 0.263 | 8.569 | 9.6 | 13 | 41.638 | 2.878 | 0.798 | 40.074 | 43.203 | 13
2.9167 | 9.077 | 0.94 | 0.261 | 8.566 | 9.588 | 13 | 41.577 | 2.856 | 0.792 | 40.024 | 43.13 | 13
3 | 9.069 | 0.947 | 0.263 | 8.554 | 9.584 | 13 | 41.777 | 2.916 | 0.809 | 40.192 | 43.362 | 13
3.0833 | 9.069 | 0.947 | 0.263 | 8.554 | 9.584 | 13 | 41.915 | 2.833 | 0.786 | 40.375 | 43.455 | 13
3.1667 | 9.069 | 0.957 | 0.265 | 8.549 | 9.589 | 13 | 42.185 | 2.796 | 0.776 | 40.665 | 43.705 | 13
3.25 | 9.092 | 0.927 | 0.257 | 8.588 | 9.596 | 13 | 42.385 | 2.846 | 0.789 | 40.838 | 43.932 | 13
3.3333 | 9.077 | 0.918 | 0.255 | 8.578 | 9.576 | 13 | 42.554 | 2.885 | 0.8 | 40.985 | 44.122 | 13
3.4167 | 9.092 | 0.922 | 0.256 | 8.591 | 9.593 | 13 | 42.838 | 2.802 | 0.777 | 41.316 | 44.361 | 13
3.5 | 9.1 | 0.926 | 0.257 | 8.597 | 9.603 | 13 | 43.085 | 2.898 | 0.804 | 41.509 | 44.66 | 13
3.5833 | 9.092 | 0.922 | 0.256 | 8.591 | 9.593 | 13 | 43.138 | 2.886 | 0.8 | 41.57 | 44.707 | 13
3.6667 | 9.108 | 0.919 | 0.255 | 8.608 | 9.607 | 13 | 43.25 | 2.89 | 0.801 | 41.679 | 44.821 | 13
3.75 | 9.115 | 0.923 | 0.256 | 8.614 | 9.617 | 13 | 43.231 | 2.93 | 0.813 | 41.638 | 44.823 | 13
3.8333 | 9.108 | 0.915 | 0.254 | 8.61 | 9.605 | 13 | 43.315 | 2.875 | 0.797 | 41.752 | 44.878 | 13
3.9167 | 9.115 | 0.912 | 0.253 | 8.62 | 9.611 | 13 | 43.415 | 2.957 | 0.82 | 41.808 | 45.023 | 13
4 | 9.115 | 0.912 | 0.253 | 8.62 | 9.611 | 13 | 43.485 | 2.995 | 0.831 | 41.857 | 45.112 | 13
4.0833 | 9.123 | 0.918 | 0.255 | 8.624 | 9.622 | 13 | 43.508 | 2.845 | 0.789 | 41.961 | 45.054 | 13
4.1667 | 9.131 | 0.927 | 0.257 | 8.627 | 9.635 | 13 | 43.638 | 2.69 | 0.746 | 42.176 | 45.101 | 13
4.25 | 9.123 | 0.921 | 0.255 | 8.623 | 9.624 | 13 | 43.615 | 2.528 | 0.701 | 42.241 | 44.99 | 13
4.3333 | 9.123 | 0.921 | 0.255 | 8.623 | 9.624 | 13 | 43.631 | 2.493 | 0.691 | 42.276 | 44.986 | 13
4.4167 | 9.131 | 0.927 | 0.257 | 8.627 | 9.635 | 13 | 43.854 | 2.502 | 0.694 | 42.494 | 45.214 | 13
4.5 | 9.131 | 0.927 | 0.257 | 8.627 | 9.635 | 13 | 43.862 | 2.593 | 0.719 | 42.452 | 45.271 | 13
4.5833 | 9.138 | 0.93 | 0.258 | 8.633 | 9.644 | 13 | 44.008 | 2.709 | 0.751 | 42.535 | 45.48 | 13
4.6667 | 9.131 | 0.929 | 0.258 | 8.626 | 9.636 | 13 | 43.962 | 2.72 | 0.754 | 42.483 | 45.44 | 13
4.75 | 9.131 | 0.94 | 0.261 | 8.62 | 9.642 | 13 | 43.908 | 2.741 | 0.76 | 42.418 | 45.398 | 13
4.8333 | 9.138 | 0.943 | 0.261 | 8.626 | 9.651 | 13 | 43.869 | 2.723 | 0.755 | 42.389 | 45.35 | 13
4.9167 | 9.138 | 0.943 | 0.261 | 8.626 | 9.651 | 13 | 44.023 | 2.702 | 0.749 | 42.554 | 45.492 | 13
5 | 9.146 | 0.934 | 0.259 | 8.638 | 9.654 | 13 | 44.315 | 2.693 | 0.747 | 42.852 | 45.779 | 13
5.0833 | 9.138 | 0.931 | 0.258 | 8.632 | 9.645 | 13 | 44.546 | 2.591 | 0.719 | 43.138 | 45.955 | 13
5.1667 | 9.162 | 0.936 | 0.26 | 8.653 | 9.67 | 13 | 44.631 | 2.631 | 0.73 | 43.201 | 46.061 | 13
5.25 | 9.138 | 0.918 | 0.255 | 8.64 | 9.637 | 13 | 44.615 | 2.636 | 0.731 | 43.183 | 46.048 | 13
5.3333 | 9.146 | 0.927 | 0.257 | 8.642 | 9.65 | 13 | 44.692 | 2.696 | 0.748 | 43.227 | 46.158 | 13
5.4167 | 9.146 | 0.927 | 0.257 | 8.642 | 9.65 | 13 | 44.7 | 2.733 | 0.758 | 43.214 | 46.186 | 13
5.5 | 9.162 | 0.912 | 0.253 | 8.666 | 9.657 | 13 | 44.746 | 2.794 | 0.775 | 43.227 | 46.265 | 13
5.5833 | 9.169 | 0.911 | 0.253 | 8.674 | 9.664 | 13 | 44.769 | 2.843 | 0.788 | 43.224 | 46.315 | 13
5.6667 | 9.177 | 0.917 | 0.254 | 8.678 | 9.676 | 13 | 44.762 | 2.855 | 0.792 | 43.209 | 46.314 | 13
5.75 | 9.185 | 0.916 | 0.254 | 8.686 | 9.683 | 13 | 44.662 | 2.895 | 0.803 | 43.088 | 46.235 | 13
5.8333 | 9.185 | 0.916 | 0.254 | 8.686 | 9.683 | 13 | 44.654 | 2.836 | 0.787 | 43.112 | 46.196 | 13
5.9167 | 9.192 | 0.913 | 0.253 | 8.696 | 9.688 | 13 | 44.762 | 2.89 | 0.802 | 43.19 | 46.333 | 13
6 | 9.208 | 0.922 | 0.256 | 8.707 | 9.709 | 13 | 44.854 | 2.821 | 0.782 | 43.32 | 46.387 | 13
6.0833 | 9.208 | 0.926 | 0.257 | 8.704 | 9.711 | 13 | 45.046 | 2.697 | 0.748 | 43.58 | 46.512 | 13
6.1667 | 9.208 | 0.926 | 0.257 | 8.704 | 9.711 | 13 | 45.077 | 2.711 | 0.752 | 43.603 | 46.55 | 13
6.25 | 9.208 | 0.908 | 0.252 | 8.714 | 9.702 | 13 | 45.046 | 2.626 | 0.728 | 43.619 | 46.474 | 13
6.3333 | 9.2 | 0.917 | 0.254 | 8.702 | 9.698 | 13 | 45.154 | 2.597 | 0.72 | 43.742 | 46.566 | 13
6.4167 | 9.215 | 0.921 | 0.256 | 8.715 | 9.716 | 13 | 45.254 | 2.545 | 0.706 | 43.87 | 46.637 | 13
6.5 | 9.192 | 0.935 | 0.259 | 8.684 | 9.701 | 13 | 45.138 | 2.477 | 0.687 | 43.792 | 46.485 | 13
6.5833 | 9.185 | 0.931 | 0.258 | 8.678 | 9.691 | 13 | 45.162 | 2.621 | 0.727 | 43.737 | 46.586 | 13
6.6667 | 9.185 | 0.931 | 0.258 | 8.678 | 9.691 | 13 | 45.262 | 2.681 | 0.743 | 43.804 | 46.719 | 13
6.75 | 9.2 | 0.936 | 0.26 | 8.691 | 9.709 | 13 | 45.192 | 2.858 | 0.793 | 43.639 | 46.746 | 13
6.8333 | 9.2 | 0.936 | 0.26 | 8.691 | 9.709 | 13 | 45.162 | 2.932 | 0.813 | 43.568 | 46.755 | 13
6.9167 | 9.208 | 0.929 | 0.258 | 8.703 | 9.712 | 13 | 45.108 | 2.833 | 0.786 | 43.568 | 46.648 | 13
7 | 9.208 | 0.929 | 0.258 | 8.703 | 9.712 | 13 | 45.185 | 2.862 | 0.794 | 43.629 | 46.741 | 13
7.0833 | 9.215 | 0.938 | 0.26 | 8.706 | 9.725 | 13 | 45.262 | 2.817 | 0.781 | 43.73 | 46.793 | 13
7.1667 | 9.2 | 0.946 | 0.262 | 8.686 | 9.714 | 13 | 45.323 | 2.754 | 0.764 | 43.826 | 46.82 | 13
7.25 | 9.208 | 0.94 | 0.261 | 8.697 | 9.719 | 13 | 45.262 | 2.688 | 0.746 | 43.8 | 46.723 | 13
7.3333 | 9.2 | 0.929 | 0.258 | 8.695 | 9.705 | 13 | 45.231 | 2.735 | 0.759 | 43.744 | 46.718 | 13
7.4167 | 9.208 | 0.923 | 0.256 | 8.706 | 9.709 | 13 | 45.208 | 2.76 | 0.765 | 43.707 | 46.708 | 13
7.5 | 9.208 | 0.91 | 0.252 | 8.713 | 9.702 | 13 | 45.323 | 2.728 | 0.757 | 43.84 | 46.806 | 13
7.5833 | 9.208 | 0.91 | 0.252 | 8.713 | 9.702 | 13 | 45.369 | 2.714 | 0.753 | 43.894 | 46.844 | 13
7.6667 | 9.215 | 0.904 | 0.251 | 8.724 | 9.707 | 13 | 45.392 | 2.667 | 0.74 | 43.942 | 46.842 | 13
7.75 | 9.231 | 0.901 | 0.25 | 8.741 | 9.72 | 13 | 45.562 | 2.725 | 0.756 | 44.08 | 47.043 | 13
7.8333 | 9.215 | 0.904 | 0.251 | 8.724 | 9.707 | 13 | 45.577 | 2.636 | 0.731 | 44.144 | 47.01 | 13
7.9167 | 9.223 | 0.908 | 0.252 | 8.729 | 9.717 | 13 | 45.646 | 2.674 | 0.742 | 44.193 | 47.1 | 13
8 | 9.223 | 0.89 | 0.247 | 8.739 | 9.707 | 13 | 45.623 | 2.656 | 0.737 | 44.179 | 47.067 | 13
8.0833 | 9.238 | 0.892 | 0.247 | 8.753 | 9.724 | 13 | 45.738 | 2.577 | 0.715 | 44.338 | 47.139 | 13
8.1667 | 9.254 | 0.889 | 0.247 | 8.771 | 9.737 | 13 | 45.838 | 2.483 | 0.689 | 44.489 | 47.188 | 13
8.25 | 9.238 | 0.881 | 0.244 | 8.76 | 9.717 | 13 | 45.754 | 2.362 | 0.655 | 44.47 | 47.038 | 13
8.3333 | 9.231 | 0.884 | 0.245 | 8.75 | 9.711 | 13 | 45.785 | 2.328 | 0.646 | 44.519 | 47.05 | 13
8.4167 | 9.246 | 0.88 | 0.244 | 8.768 | 9.725 | 13 | 45.854 | 2.437 | 0.676 | 44.529 | 47.179 | 13
8.5 | 9.254 | 0.883 | 0.245 | 8.774 | 9.734 | 13 | 45.838 | 2.508 | 0.696 | 44.475 | 47.202 | 13
8.5833 | 9.246 | 0.884 | 0.245 | 8.766 | 9.727 | 13 | 45.885 | 2.478 | 0.687 | 44.537 | 47.232 | 13
8.6667 | 9.246 | 0.884 | 0.245 | 8.766 | 9.727 | 13 | 45.931 | 2.576 | 0.714 | 44.531 | 47.331 | 13
8.75 | 9.231 | 0.884 | 0.245 | 8.75 | 9.711 | 13 | 45.731 | 2.493 | 0.692 | 44.375 | 47.086 | 13
8.8333 | 9.231 | 0.884 | 0.245 | 8.75 | 9.711 | 13 | 45.792 | 2.458 | 0.682 | 44.456 | 47.128 | 13
8.9167 | 9.238 | 0.876 | 0.243 | 8.762 | 9.715 | 13 | 45.731 | 2.396 | 0.665 | 44.428 | 47.033 | 13
9 | 9.238 | 0.876 | 0.243 | 8.762 | 9.715 | 13 | 45.892 | 2.349 | 0.651 | 44.616 | 47.169 | 13
9.0833 | 9.246 | 0.885 | 0.245 | 8.765 | 9.727 | 13 | 45.969 | 2.276 | 0.631 | 44.732 | 47.207 | 13
9.1667 | 9.246 | 0.885 | 0.245 | 8.765 | 9.727 | 13 | 45.977 | 2.335 | 0.648 | 44.707 | 47.246 | 13
9.25 | 9.254 | 0.871 | 0.242 | 8.78 | 9.728 | 13 | 46.046 | 2.362 | 0.655 | 44.762 | 47.33 | 13
9.3333 | 9.246 | 0.868 | 0.241 | 8.774 | 9.718 | 13 | 45.931 | 2.415 | 0.67 | 44.618 | 47.244 | 13
9.4167 | 9.254 | 0.867 | 0.24 | 8.783 | 9.725 | 13 | 45.954 | 2.497 | 0.693 | 44.596 | 47.311 | 13
9.5 | 9.246 | 0.895 | 0.248 | 8.76 | 9.733 | 13 | 45.938 | 2.426 | 0.673 | 44.62 | 47.257 | 13
9.5833 | 9.254 | 0.904 | 0.251 | 8.763 | 9.745 | 13 | 45.962 | 2.41 | 0.669 | 44.651 | 47.272 | 13
9.6667 | 9.254 | 0.904 | 0.251 | 8.763 | 9.745 | 13 | 46.023 | 2.412 | 0.669 | 44.712 | 47.334 | 13
9.75 | 9.254 | 0.876 | 0.243 | 8.778 | 9.73 | 13 | 46.077 | 2.355 | 0.653 | 44.797 | 47.357 | 13
9.8333 | 9.269 | 0.888 | 0.246 | 8.787 | 9.752 | 13 | 46.192 | 2.238 | 0.621 | 44.976 | 47.409 | 13
9.9167 | 9.262 | 0.882 | 0.245 | 8.782 | 9.741 | 13 | 46.223 | 2.309 | 0.64 | 44.968 | 47.478 | 13
10 | 9.262 | 0.882 | 0.245 | 8.782 | 9.741 | 13 | 46.323 | 2.384 | 0.661 | 45.027 | 47.619 | 13
10.0833 | 9.254 | 0.879 | 0.244 | 8.776 | 9.732 | 13 | 46.377 | 2.531 | 0.702 | 45.001 | 47.753 | 13
10.1667 | 9.262 | 0.888 | 0.246 | 8.779 | 9.744 | 13 | 46.377 | 2.489 | 0.69 | 45.024 | 47.73 | 13
10.25 | 9.262 | 0.888 | 0.246 | 8.779 | 9.744 | 13 | 46.277 | 2.426 | 0.673 | 44.958 | 47.596 | 13
10.3333 | 9.262 | 0.888 | 0.246 | 8.779 | 9.744 | 13 | 46.208 | 2.31 | 0.641 | 44.952 | 47.463 | 13
10.4167 | 9.262 | 0.888 | 0.246 | 8.779 | 9.744 | 13 | 46.154 | 2.285 | 0.634 | 44.912 | 47.396 | 13
10.5 | 9.269 | 0.89 | 0.247 | 8.785 | 9.753 | 13 | 46.215 | 2.303 | 0.639 | 44.964 | 47.467 | 13
10.5833 | 9.277 | 0.894 | 0.248 | 8.791 | 9.763 | 13 | 46.331 | 2.369 | 0.657 | 45.043 | 47.619 | 13
10.6667 | 9.277 | 0.894 | 0.248 | 8.791 | 9.763 | 13 | 46.446 | 2.315 | 0.642 | 45.188 | 47.704 | 13
10.75 | 9.292 | 0.896 | 0.248 | 8.805 | 9.779 | 13 | 46.438 | 2.345 | 0.65 | 45.164 | 47.713 | 13
10.8333 | 9.292 | 0.908 | 0.252 | 8.799 | 9.786 | 13 | 46.469 | 2.369 | 0.657 | 45.181 | 47.757 | 13
10.9167 | 9.3 | 0.906 | 0.251 | 8.807 | 9.793 | 13 | 46.392 | 2.261 | 0.627 | 45.163 | 47.621 | 13
11 | 9.292 | 0.901 | 0.25 | 8.803 | 9.782 | 13 | 46.369 | 2.323 | 0.644 | 45.107 | 47.632 | 13
11.0833 | 9.3 | 0.894 | 0.248 | 8.814 | 9.786 | 13 | 46.454 | 2.259 | 0.627 | 45.226 | 47.682 | 13
11.1667 | 9.308 | 0.875 | 0.243 | 8.832 | 9.783 | 13 | 46.438 | 2.136 | 0.592 | 45.277 | 47.6 | 13
11.25 | 9.315 | 0.911 | 0.253 | 8.82 | 9.811 | 13 | 46.369 | 2.053 | 0.569 | 45.253 | 47.485 | 13
11.3333 | 9.3 | 0.904 | 0.251 | 8.809 | 9.791 | 13 | 46.377 | 2.239 | 0.621 | 45.16 | 47.594 | 13
11.4167 | 9.308 | 0.913 | 0.253 | 8.812 | 9.804 | 13 | 46.354 | 2.239 | 0.621 | 45.137 | 47.571 | 13
11.5 | 9.308 | 0.913 | 0.253 | 8.812 | 9.804 | 13 | 46.277 | 2.144 | 0.595 | 45.112 | 47.442 | 13
11.5833 | 9.3 | 0.904 | 0.251 | 8.809 | 9.791 | 13 | 46.331 | 2.104 | 0.584 | 45.187 | 47.475 | 13
11.6667 | 9.308 | 0.913 | 0.253 | 8.812 | 9.804 | 13 | 46.423 | 2.05 | 0.569 | 45.309 | 47.538 | 13
11.75 | 9.308 | 0.885 | 0.246 | 8.826 | 9.789 | 13 | 46.423 | 1.983 | 0.55 | 45.345 | 47.501 | 13
11.8333 | 9.315 | 0.878 | 0.243 | 8.838 | 9.793 | 13 | 46.431 | 2.109 | 0.585 | 45.284 | 47.577 | 13
11.9167 | 9.315 | 0.878 | 0.243 | 8.838 | 9.793 | 13 | 46.508 | 2.125 | 0.589 | 45.352 | 47.663 | 13
12 | 9.308 | 0.885 | 0.246 | 8.826 | 9.789 | 13 | 46.6 | 2.084 | 0.578 | 45.467 | 47.733 | 13
12.0833 | 9.308 | 0.869 | 0.241 | 8.835 | 9.78 | 13 | 46.538 | 2.167 | 0.601 | 45.36 | 47.716 | 13
12.1667 | 9.3 | 0.881 | 0.244 | 8.821 | 9.779 | 13 | 46.408 | 2.123 | 0.589 | 45.254 | 47.562 | 13
12.25 | 9.3 | 0.871 | 0.242 | 8.827 | 9.773 | 13 | 46.362 | 2.143 | 0.594 | 45.197 | 47.526 | 13
12.3333 | 9.308 | 0.869 | 0.241 | 8.835 | 9.78 | 13 | 46.492 | 2.043 | 0.567 | 45.382 | 47.603 | 13
12.4167 | 9.315 | 0.872 | 0.242 | 8.842 | 9.789 | 13 | 46.592 | 2.192 | 0.608 | 45.4 | 47.784 | 13
12.5 | 9.331 | 0.846 | 0.235 | 8.871 | 9.791 | 13 | 46.7 | 2.197 | 0.609 | 45.506 | 47.894 | 13
12.5833 | 9.346 | 0.862 | 0.239 | 8.878 | 9.815 | 13 | 46.815 | 2.105 | 0.584 | 45.671 | 47.96 | 13
12.6667 | 9.346 | 0.862 | 0.239 | 8.878 | 9.815 | 13 | 46.792 | 2.201 | 0.61 | 45.596 | 47.989 | 13
12.75 | 9.346 | 0.862 | 0.239 | 8.878 | 9.815 | 13 | 46.746 | 2.171 | 0.602 | 45.566 | 47.926 | 13
12.8333 | 9.362 | 0.869 | 0.241 | 8.889 | 9.834 | 13 | 46.569 | 2.155 | 0.598 | 45.398 | 47.741 | 13
12.9167 | 9.354 | 0.86 | 0.238 | 8.886 | 9.821 | 13 | 46.454 | 2.142 | 0.594 | 45.29 | 47.618 | 13
13 | 9.362 | 0.869 | 0.241 | 8.889 | 9.834 | 13 | 46.338 | 2.06 | 0.571 | 45.218 | 47.459 | 13
13.0833 | 9.369 | 0.861 | 0.239 | 8.901 | 9.838 | 13 | 46.377 | 2.008 | 0.557 | 45.286 | 47.468 | 13
13.1667 | 9.346 | 0.878 | 0.244 | 8.869 | 9.824 | 13 | 46.362 | 2.023 | 0.561 | 45.262 | 47.461 | 13
13.25 | 9.346 | 0.878 | 0.244 | 8.869 | 9.824 | 13 | 46.362 | 2.053 | 0.569 | 45.246 | 47.477 | 13
13.3333 | 9.362 | 0.853 | 0.236 | 8.898 | 9.825 | 13 | 46.415 | 2.077 | 0.576 | 45.287 | 47.544 | 13
13.4167 | 9.362 | 0.853 | 0.236 | 8.898 | 9.825 | 13 | 46.469 | 2.122 | 0.588 | 45.316 | 47.623 | 13
13.5 | 9.362 | 0.853 | 0.236 | 8.898 | 9.825 | 13 | 46.4 | 2.181 | 0.605 | 45.214 | 47.586 | 13
13.5833 | 9.362 | 0.853 | 0.236 | 8.898 | 9.825 | 13 | 46.285 | 2.206 | 0.612 | 45.086 | 47.484 | 13
13.6667 | 9.369 | 0.858 | 0.238 | 8.903 | 9.836 | 13 | 46.138 | 2.127 | 0.59 | 44.982 | 47.295 | 13
13.75 | 9.369 | 0.858 | 0.238 | 8.903 | 9.836 | 13 | 46.177 | 2.049 | 0.568 | 45.063 | 47.291 | 13
13.8333 | 9.377 | 0.867 | 0.241 | 8.905 | 9.848 | 13 | 46.269 | 2.109 | 0.585 | 45.123 | 47.416 | 13
13.9167 | 9.392 | 0.87 | 0.241 | 8.92 | 9.865 | 13 | 46.246 | 2.032 | 0.564 | 45.141 | 47.351 | 13
14 | 9.377 | 0.873 | 0.242 | 8.902 | 9.851 | 13 | 46.185 | 2.022 | 0.561 | 45.086 | 47.284 | 13
14.0833 | 9.369 | 0.869 | 0.241 | 8.897 | 9.841 | 13 | 46.123 | 2.115 | 0.587 | 44.973 | 47.273 | 13
14.1667 | 9.377 | 0.877 | 0.243 | 8.9 | 9.854 | 13 | 46.123 | 2.124 | 0.589 | 44.969 | 47.277 | 13
14.25 | 9.377 | 0.867 | 0.24 | 8.906 | 9.848 | 13 | 46.146 | 2.24 | 0.621 | 44.928 | 47.364 | 13
14.3333 | 9.377 | 0.878 | 0.244 | 8.9 | 9.854 | 13 | 46.262 | 2.274 | 0.631 | 45.025 | 47.498 | 13
14.4167 | 9.362 | 0.865 | 0.24 | 8.891 | 9.832 | 13 | 46.338 | 2.263 | 0.628 | 45.108 | 47.569 | 13
14.5 | 9.377 | 0.879 | 0.244 | 8.899 | 9.855 | 13 | 46.446 | 2.227 | 0.618 | 45.236 | 47.657 | 13
14.5833 | 9.392 | 0.886 | 0.246 | 8.911 | 9.874 | 13 | 46.485 | 2.203 | 0.611 | 45.287 | 47.682 | 13
14.6667 | 9.4 | 0.896 | 0.249 | 8.913 | 9.887 | 13 | 46.385 | 2.166 | 0.601 | 45.207 | 47.562 | 13
14.75 | 9.392 | 0.886 | 0.246 | 8.911 | 9.874 | 13 | 46.338 | 2.122 | 0.589 | 45.185 | 47.492 | 13
14.8333 | 9.377 | 0.874 | 0.242 | 8.902 | 9.852 | 13 | 46.238 | 2.075 | 0.576 | 45.11 | 47.367 | 13
14.9167 | 9.392 | 0.886 | 0.246 | 8.911 | 9.874 | 13 | 46.215 | 2.057 | 0.57 | 45.097 | 47.333 | 13
15 | 9.523 | 0.891 | 0.247 | 9.039 | 10.007 | 13 | 46.192 | 2.108 | 0.585 | 45.046 | 47.338 | 13
15.0833 | 10.223 | 0.85 | 0.236 | 9.761 | 10.685 | 13 | 46.177 | 2.031 | 0.563 | 45.073 | 47.281 | 13
15.1667 | 11.546 | 0.925 | 0.256 | 11.044 | 12.049 | 13 | 46.215 | 1.987 | 0.551 | 45.135 | 47.295 | 13
15.25 | 13.608 | 1.414 | 0.392 | 12.839 | 14.377 | 13 | 46.185 | 2.01 | 0.558 | 45.092 | 47.277 | 13
15.3333 | 15.262 | 1.393 | 0.386 | 14.504 | 16.019 | 13 | 46.062 | 2.047 | 0.568 | 44.949 | 47.174 | 13
15.4167 | 16.938 | 0.919 | 0.255 | 16.439 | 17.438 | 13 | 45.869 | 2.085 | 0.578 | 44.736 | 47.002 | 13
15.5 | 18.323 | 0.694 | 0.193 | 17.946 | 18.7 | 13 | 45.677 | 1.98 | 0.549 | 44.601 | 46.753 | 13
15.5833 | 19.715 | 1.035 | 0.287 | 19.153 | 20.278 | 13 | 45.469 | 1.927 | 0.534 | 44.422 | 46.517 | 13
15.6667 | 20.892 | 1.04 | 0.288 | 20.327 | 21.457 | 13 | 45.362 | 1.943 | 0.539 | 44.305 | 46.418 | 13
15.75 | 21.731 | 0.623 | 0.173 | 21.392 | 22.07 | 13 | 45.208 | 1.891 | 0.525 | 44.179 | 46.236 | 13
15.8333 | 22.515 | 0.575 | 0.159 | 22.203 | 22.828 | 13 | 45.008 | 1.848 | 0.513 | 44.003 | 46.012 | 13
15.9167 | 23.262 | 0.783 | 0.217 | 22.836 | 23.687 | 13 | 44.631 | 1.684 | 0.467 | 43.715 | 45.546 | 13
16 | 23.754 | 0.739 | 0.205 | 23.352 | 24.155 | 13 | 44.408 | 1.678 | 0.465 | 43.496 | 45.32 | 13
16.0833 | 24.177 | 0.586 | 0.163 | 23.858 | 24.495 | 13 | 44.254 | 1.612 | 0.447 | 43.378 | 45.13 | 13
16.1667 | 24.546 | 0.577 | 0.16 | 24.232 | 24.86 | 13 | 43.985 | 1.539 | 0.427 | 43.148 | 44.821 | 13
16.25 | 24.838 | 0.655 | 0.182 | 24.483 | 25.194 | 13 | 43.762 | 1.597 | 0.443 | 42.893 | 44.63 | 13
16.3333 | 25.031 | 0.622 | 0.172 | 24.693 | 25.369 | 13 | 43.623 | 1.64 | 0.455 | 42.731 | 44.515 | 13
16.4167 | 25.238 | 0.57 | 0.158 | 24.928 | 25.549 | 13 | 43.462 | 1.62 | 0.449 | 42.581 | 44.342 | 13
16.5 | 25.377 | 0.591 | 0.164 | 25.056 | 25.698 | 13 | 43.292 | 1.585 | 0.44 | 42.431 | 44.154 | 13
16.5833 | 25.538 | 0.631 | 0.175 | 25.196 | 25.881 | 13 | 43.062 | 1.599 | 0.444 | 42.192 | 43.931 | 13
16.6667 | 25.638 | 0.605 | 0.168 | 25.31 | 25.967 | 13 | 42.854 | 1.558 | 0.432 | 42.007 | 43.701 | 13
16.75 | 25.692 | 0.603 | 0.167 | 25.364 | 26.02 | 13 | 42.669 | 1.588 | 0.44 | 41.806 | 43.532 | 13
16.8333 | 25.769 | 0.616 | 0.171 | 25.435 | 26.104 | 13 | 42.523 | 1.585 | 0.439 | 41.662 | 43.384 | 13
16.9167 | 25.815 | 0.627 | 0.174 | 25.474 | 26.156 | 13 | 42.331 | 1.602 | 0.444 | 41.46 | 43.201 | 13
17 | 25.862 | 0.611 | 0.169 | 25.529 | 26.194 | 13 | 42.154 | 1.57 | 0.435 | 41.301 | 43.007 | 13
17.0833 | 25.915 | 0.61 | 0.169 | 25.584 | 26.247 | 13 | 41.977 | 1.557 | 0.432 | 41.131 | 42.823 | 13
17.1667 | 25.938 | 0.625 | 0.173 | 25.599 | 26.278 | 13 | 41.831 | 1.502 | 0.417 | 41.014 | 42.647 | 13
17.25 | 25.962 | 0.638 | 0.177 | 25.615 | 26.308 | 13 | 41.7 | 1.485 | 0.412 | 40.893 | 42.507 | 13
17.3333 | 25.992 | 0.632 | 0.175 | 25.649 | 26.336 | 13 | 41.592 | 1.458 | 0.404 | 40.8 | 42.385 | 13
17.4167 | 26.023 | 0.658 | 0.182 | 25.666 | 26.381 | 13 | 41.392 | 1.449 | 0.402 | 40.604 | 42.18 | 13
17.5 | 26.038 | 0.638 | 0.177 | 25.692 | 26.385 | 13 | 41.192 | 1.457 | 0.404 | 40.4 | 41.984 | 13
17.5833 | 26.062 | 0.659 | 0.183 | 25.703 | 26.42 | 13 | 41.038 | 1.465 | 0.406 | 40.242 | 41.835 | 13
17.6667 | 26.1 | 0.679 | 0.188 | 25.731 | 26.469 | 13 | 40.915 | 1.442 | 0.4 | 40.131 | 41.699 | 13
17.75 | 26.108 | 0.69 | 0.191 | 25.733 | 26.483 | 13 | 40.777 | 1.434 | 0.398 | 39.997 | 41.557 | 13
17.8333 | 26.138 | 0.713 | 0.198 | 25.751 | 26.526 | 13 | 40.669 | 1.4 | 0.388 | 39.908 | 41.43 | 13
17.9167 | 26.169 | 0.753 | 0.209 | 25.76 | 26.578 | 13 | 40.531 | 1.401 | 0.389 | 39.769 | 41.292 | 13
18 | 26.192 | 0.766 | 0.212 | 25.776 | 26.609 | 13 | 40.377 | 1.367 | 0.379 | 39.634 | 41.12 | 13
18.0833 | 26.2 | 0.779 | 0.216 | 25.777 | 26.623 | 13 | 40.185 | 1.356 | 0.376 | 39.447 | 40.922 | 13
18.1667 | 26.223 | 0.788 | 0.218 | 25.795 | 26.651 | 13 | 40.077 | 1.333 | 0.37 | 39.353 | 40.801 | 13
18.25 | 26.254 | 0.808 | 0.224 | 25.814 | 26.693 | 13 | 39.946 | 1.355 | 0.376 | 39.21 | 40.683 | 13
18.3333 | 26.262 | 0.837 | 0.232 | 25.806 | 26.717 | 13 | 39.846 | 1.363 | 0.378 | 39.105 | 40.587 | 13
18.4167 | 26.315 | 0.859 | 0.238 | 25.848 | 26.782 | 13 | 39.654 | 1.388 | 0.385 | 38.9 | 40.408 | 13
18.5 | 26.331 | 0.881 | 0.244 | 25.852 | 26.81 | 13 | 39.523 | 1.381 | 0.383 | 38.773 | 40.274 | 13
18.5833 | 26.354 | 0.909 | 0.252 | 25.859 | 26.848 | 13 | 39.431 | 1.407 | 0.39 | 38.666 | 40.196 | 13
18.6667 | 26.392 | 0.93 | 0.258 | 25.887 | 26.898 | 13 | 39.331 | 1.452 | 0.403 | 38.541 | 40.12 | 13
18.75 | 26.415 | 0.94 | 0.261 | 25.904 | 26.927 | 13 | 39.208 | 1.441 | 0.4 | 38.424 | 39.991 | 13
18.8333 | 26.454 | 0.951 | 0.264 | 25.937 | 26.971 | 13 | 39.085 | 1.391 | 0.386 | 38.328 | 39.841 | 13
18.9167 | 26.485 | 0.973 | 0.27 | 25.956 | 27.013 | 13 | 38.992 | 1.393 | 0.386 | 38.235 | 39.75 | 13
19 | 26.523 | 0.987 | 0.274 | 25.987 | 27.06 | 13 | 38.877 | 1.393 | 0.386 | 38.12 | 39.634 | 13
19.0833 | 26.546 | 0.996 | 0.276 | 26.005 | 27.088 | 13 | 38.685 | 1.365 | 0.379 | 37.943 | 39.427 | 13
19.1667 | 26.569 | 1.012 | 0.281 | 26.019 | 27.119 | 13 | 38.562 | 1.359 | 0.377 | 37.823 | 39.3 | 13
19.25 | 26.623 | 1.035 | 0.287 | 26.061 | 27.186 | 13 | 38.446 | 1.351 | 0.375 | 37.712 | 39.181 | 13
19.3333 | 26.646 | 1.038 | 0.288 | 26.082 | 27.211 | 13 | 38.392 | 1.344 | 0.373 | 37.662 | 39.123 | 13
19.4167 | 26.692 | 1.048 | 0.291 | 26.123 | 27.262 | 13 | 38.331 | 1.343 | 0.372 | 37.601 | 39.061 | 13
19.5 | 26.723 | 1.054 | 0.292 | 26.15 | 27.296 | 13 | 38.262 | 1.347 | 0.374 | 37.529 | 38.994 | 13
19.5833 | 26.762 | 1.07 | 0.297 | 26.18 | 27.343 | 13 | 38.162 | 1.389 | 0.385 | 37.406 | 38.917 | 13
19.6667 | 26.785 | 1.07 | 0.297 | 26.203 | 27.367 | 13 | 38.069 | 1.372 | 0.38 | 37.323 | 38.815 | 13
19.75 | 26.838 | 1.085 | 0.301 | 26.249 | 27.428 | 13 | 37.9 | 1.36 | 0.377 | 37.16 | 38.64 | 13
19.8333 | 26.862 | 1.099 | 0.305 | 26.264 | 27.459 | 13 | 37.823 | 1.366 | 0.379 | 37.08 | 38.566 | 13
19.9167 | 26.915 | 1.092 | 0.303 | 26.322 | 27.509 | 13 | 37.708 | 1.366 | 0.379 | 36.965 | 38.45 | 13
20 | 26.954 | 1.103 | 0.306 | 26.354 | 27.553 | 13 | 37.631 | 1.365 | 0.378 | 36.889 | 38.373 | 13
20.0833 | 26.985 | 1.074 | 0.298 | 26.401 | 27.568 | 13 | 37.554 | 1.4 | 0.388 | 36.793 | 38.315 | 13
20.1667 | 26.942 | 1.085 | 0.313 | 26.328 | 27.556 | 12 | 37.417 | 1.468 | 0.424 | 36.586 | 38.247 | 12
20.25 | 26.95 | 1.075 | 0.31 | 26.342 | 27.558 | 12 | 37.35 | 1.492 | 0.431 | 36.506 | 38.194 | 12
20.3333 | 26.983 | 1.085 | 0.313 | 26.369 | 27.597 | 12 | 37.267 | 1.467 | 0.423 | 36.437 | 38.097 | 12
20.4167 | 27.017 | 1.062 | 0.307 | 26.416 | 27.618 | 12 | 37.308 | 1.543 | 0.445 | 36.435 | 38.181 | 12
20.5 | 27.075 | 1.077 | 0.311 | 26.466 | 27.684 | 12 | 37.225 | 1.571 | 0.454 | 36.336 | 38.114 | 12
20.5833 | 27.083 | 1.075 | 0.31 | 26.475 | 27.692 | 12 | 37.142 | 1.54 | 0.445 | 36.27 | 38.013 | 12
20.6667 | 27.129 | 1.087 | 0.314 | 26.514 | 27.744 | 12 | 37.004 | 1.499 | 0.433 | 36.156 | 37.852 | 12
20.75 | 27.167 | 1.078 | 0.311 | 26.557 | 27.777 | 12 | 36.817 | 1.387 | 0.4 | 36.032 | 37.602 | 12
20.8333 | 27.183 | 1.064 | 0.307 | 26.582 | 27.785 | 12 | 36.725 | 1.405 | 0.406 | 35.93 | 37.52 | 12
20.9167 | 27.109 | 1.053 | 0.317 | 26.487 | 27.731 | 11 | 36.818 | 1.362 | 0.411 | 36.013 | 37.623 | 11
21 | 27.132 | 1.068 | 0.322 | 26.501 | 27.763 | 11 | 36.75 | 1.368 | 0.412 | 35.942 | 37.558 | 11
21.0833 | 27.164 | 1.062 | 0.32 | 26.536 | 27.791 | 11 | 36.609 | 1.353 | 0.408 | 35.809 | 37.409 | 11
21.1667 | 27.191 | 1.033 | 0.311 | 26.581 | 27.801 | 11 | 36.491 | 1.413 | 0.426 | 35.656 | 37.326 | 11
21.25 | 27.236 | 1.059 | 0.319 | 26.61 | 27.862 | 11 | 36.436 | 1.436 | 0.433 | 35.588 | 37.285 | 11
21.3333 | 27.255 | 1.049 | 0.316 | 26.635 | 27.875 | 11 | 36.382 | 1.433 | 0.432 | 35.535 | 37.229 | 11
21.4167 | 27.282 | 1.049 | 0.316 | 26.662 | 27.902 | 11 | 36.273 | 1.44 | 0.434 | 35.422 | 37.124 | 11
21.5 | 27.318 | 1.047 | 0.316 | 26.699 | 27.937 | 11 | 36.182 | 1.428 | 0.431 | 35.338 | 37.026 | 11
21.5833 | 27.341 | 1.044 | 0.315 | 26.724 | 27.958 | 11 | 36.195 | 1.398 | 0.422 | 35.369 | 37.022 | 11
21.6667 | 27.355 | 1.045 | 0.315 | 26.737 | 27.972 | 11 | 36.118 | 1.428 | 0.43 | 35.275 | 36.962 | 11
21.75 | 27.382 | 1.021 | 0.308 | 26.779 | 27.985 | 11 | 36.036 | 1.391 | 0.419 | 35.214 | 36.858 | 11
21.8333 | 27.391 | 1.024 | 0.309 | 26.786 | 27.996 | 11 | 35.927 | 1.387 | 0.418 | 35.108 | 36.747 | 11
21.9167 | 27.418 | 1.028 | 0.31 | 26.811 | 28.025 | 11 | 35.836 | 1.396 | 0.421 | 35.012 | 36.661 | 11
22 | 27.409 | 1.018 | 0.307 | 26.807 | 28.011 | 11 | 35.727 | 1.397 | 0.421 | 34.901 | 36.553 | 11
22.0833 | 27.445 | 0.996 | 0.3 | 26.857 | 28.034 | 11 | 35.636 | 1.441 | 0.434 | 34.785 | 36.488 | 11
22.1667 | 27.482 | 1.01 | 0.304 | 26.885 | 28.079 | 11 | 35.536 | 1.437 | 0.433 | 34.687 | 36.385 | 11
22.25 | 27.482 | 1.01 | 0.304 | 26.885 | 28.079 | 11 | 35.473 | 1.426 | 0.43 | 34.63 | 36.315 | 11
22.3333 | 27.43 | 1.006 | 0.318 | 26.806 | 28.054 | 10 | 35.47 | 1.498 | 0.474 | 34.542 | 36.398 | 10
22.4167 | 27.44 | 0.99 | 0.313 | 26.826 | 28.054 | 10 | 35.39 | 1.502 | 0.475 | 34.459 | 36.321 | 10
22.5 | 27.46 | 0.98 | 0.31 | 26.853 | 28.067 | 10 | 35.35 | 1.536 | 0.486 | 34.398 | 36.302 | 10
22.5833 | 27.47 | 0.964 | 0.305 | 26.872 | 28.068 | 10 | 35.27 | 1.577 | 0.499 | 34.292 | 36.248 | 10
22.6667 | 27.49 | 0.975 | 0.308 | 26.886 | 28.094 | 10 | 35.19 | 1.552 | 0.491 | 34.228 | 36.152 | 10
22.75 | 27.52 | 0.952 | 0.301 | 26.93 | 28.11 | 10 | 35.09 | 1.573 | 0.497 | 34.115 | 36.065 | 10
22.8333 | 27.54 | 0.959 | 0.303 | 26.945 | 28.135 | 10 | 35.03 | 1.581 | 0.5 | 34.05 | 36.01 | 10
22.9167 | 27.55 | 0.944 | 0.298 | 26.965 | 28.135 | 10 | 34.99 | 1.549 | 0.49 | 34.03 | 35.95 | 10
23 | 27.56 | 0.928 | 0.293 | 26.985 | 28.135 | 10 | 34.91 | 1.517 | 0.48 | 33.97 | 35.85 | 10
23.0833 | 27.67 | 0.92 | 0.307 | 27.069 | 28.272 | 9 | 35.044 | 1.35 | 0.45 | 34.162 | 35.926 | 9
23.1667 | 27.689 | 0.88 | 0.293 | 27.114 | 28.264 | 9 | 34.978 | 1.373 | 0.458 | 34.081 | 35.875 | 9
23.25 | 27.722 | 0.908 | 0.303 | 27.129 | 28.315 | 9 | 34.978 | 1.407 | 0.469 | 34.059 | 35.897 | 9
23.3333 | 27.733 | 0.906 | 0.302 | 27.142 | 28.325 | 9 | 34.944 | 1.438 | 0.479 | 34.005 | 35.884 | 9
23.4167 | 27.733 | 0.889 | 0.296 | 27.152 | 28.314 | 9 | 34.922 | 1.48 | 0.493 | 33.955 | 35.889 | 9
23.5 | 27.722 | 0.877 | 0.292 | 27.15 | 28.295 | 9 | 34.878 | 1.551 | 0.517 | 33.864 | 35.891 | 9
23.5833 | 27.767 | 0.879 | 0.293 | 27.192 | 28.341 | 9 | 34.878 | 1.575 | 0.525 | 33.849 | 35.907 | 9
23.6667 | 27.767 | 0.868 | 0.289 | 27.2 | 28.334 | 9 | 34.8 | 1.541 | 0.514 | 33.793 | 35.807 | 9
23.75 | 27.789 | 0.861 | 0.287 | 27.226 | 28.351 | 9 | 34.722 | 1.541 | 0.514 | 33.715 | 35.729 | 9
23.8333 | 27.789 | 0.861 | 0.287 | 27.226 | 28.351 | 9 | 34.678 | 1.525 | 0.508 | 33.681 | 35.674 | 9
23.9167 | 27.789 | 0.861 | 0.287 | 27.226 | 28.351 | 9 | 34.711 | 1.598 | 0.533 | 33.667 | 35.755 | 9
24 | 27.789 | 0.861 | 0.287 | 27.226 | 28.351 | 9 | 34.656 | 1.548 | 0.516 | 33.644 | 35.667 | 9
24.0833 | 27.8 | 0.842 | 0.281 | 27.25 | 28.35 | 9 | 34.522 | 1.496 | 0.499 | 33.545 | 35.499 | 9
24.1667 | 27.822 | 0.85 | 0.283 | 27.267 | 28.377 | 9 | 34.411 | 1.493 | 0.498 | 33.436 | 35.386 | 9
24.25 | 27.822 | 0.85 | 0.283 | 27.267 | 28.377 | 9 | 34.333 | 1.5 | 0.5 | 33.353 | 35.314 | 9
24.3333 | 27.833 | 0.831 | 0.277 | 27.29 | 28.376 | 9 | 34.278 | 1.491 | 0.497 | 33.304 | 35.252 | 9
24.4167 | 27.833 | 0.831 | 0.277 | 27.29 | 28.376 | 9 | 34.233 | 1.513 | 0.504 | 33.245 | 35.222 | 9
24.5 | 27.833 | 0.831 | 0.277 | 27.29 | 28.376 | 9 | 34.178 | 1.495 | 0.498 | 33.201 | 35.155 | 9
24.5833 | 27.833 | 0.831 | 0.277 | 27.29 | 28.376 | 9 | 34.111 | 1.478 | 0.493 | 33.146 | 35.076 | 9
24.6667 | 27.833 | 0.831 | 0.277 | 27.29 | 28.376 | 9 | 34.072 | 1.482 | 0.494 | 33.104 | 35.04 | 9
24.75 | 27.844 | 0.813 | 0.271 | 27.314 | 28.375 | 9 | 34 | 1.462 | 0.487 | 33.045 | 34.955 | 9
24.8333 | 27.844 | 0.813 | 0.271 | 27.314 | 28.375 | 9 | 33.956 | 1.462 | 0.487 | 33 | 34.911 | 9
24.9167 | 27.856 | 0.795 | 0.265 | 27.336 | 28.375 | 9 | 33.9 | 1.433 | 0.478 | 32.964 | 34.836 | 9
25 | 27.867 | 0.794 | 0.265 | 27.348 | 28.386 | 9 | 33.856 | 1.466 | 0.489 | 32.898 | 34.813 | 9
25.0833 | 27.867 | 0.794 | 0.265 | 27.348 | 28.386 | 9 | 33.856 | 1.483 | 0.494 | 32.886 | 34.825 | 9
25.1667 | 27.867 | 0.794 | 0.265 | 27.348 | 28.386 | 9 | 33.856 | 1.517 | 0.506 | 32.864 | 34.847 | 9
25.25 | 27.867 | 0.794 | 0.265 | 27.348 | 28.386 | 9 | 33.822 | 1.532 | 0.511 | 32.821 | 34.823 | 9
25.3333 | 27.856 | 0.795 | 0.265 | 27.336 | 28.375 | 9 | 33.756 | 1.513 | 0.504 | 32.767 | 34.744 | 9
25.4167 | 27.878 | 0.776 | 0.259 | 27.371 | 28.385 | 9 | 33.667 | 1.494 | 0.498 | 32.69 | 34.643 | 9
25.5 | 27.878 | 0.776 | 0.259 | 27.371 | 28.385 | 9 | 33.6 | 1.466 | 0.489 | 32.642 | 34.558 | 9
25.5833 | 27.878 | 0.776 | 0.259 | 27.371 | 28.385 | 9 | 33.544 | 1.438 | 0.479 | 32.605 | 34.484 | 9
25.6667 | 27.9 | 0.754 | 0.251 | 27.407 | 28.393 | 9 | 33.522 | 1.463 | 0.488 | 32.567 | 34.478 | 9
25.75 | 27.911 | 0.762 | 0.254 | 27.413 | 28.409 | 9 | 33.444 | 1.517 | 0.506 | 32.453 | 34.436 | 9
25.8333 | 27.911 | 0.762 | 0.254 | 27.413 | 28.409 | 9 | 33.411 | 1.523 | 0.508 | 32.416 | 34.406 | 9
25.9167 | 27.911 | 0.762 | 0.254 | 27.413 | 28.409 | 9 | 33.4 | 1.542 | 0.514 | 32.393 | 34.407 | 9
26 | 27.911 | 0.762 | 0.254 | 27.413 | 28.409 | 9 | 33.4 | 1.608 | 0.536 | 32.35 | 34.45 | 9
26.0833 | 27.911 | 0.762 | 0.254 | 27.413 | 28.409 | 9 | 33.389 | 1.613 | 0.538 | 32.335 | 34.443 | 9
26.1667 | 27.9 | 0.763 | 0.254 | 27.401 | 28.399 | 9 | 33.389 | 1.637 | 0.546 | 32.319 | 34.459 | 9
26.25 | 27.9 | 0.763 | 0.254 | 27.401 | 28.399 | 9 | 33.378 | 1.629 | 0.543 | 32.314 | 34.442 | 9
26.3333 | 27.9 | 0.763 | 0.254 | 27.401 | 28.399 | 9 | 33.333 | 1.622 | 0.541 | 32.274 | 34.393 | 9
26.4167 | 27.911 | 0.745 | 0.248 | 27.425 | 28.398 | 9 | 33.311 | 1.643 | 0.548 | 32.238 | 34.384 | 9
26.5 | 27.911 | 0.745 | 0.248 | 27.425 | 28.398 | 9 | 33.189 | 1.593 | 0.531 | 32.148 | 34.23 | 9
26.5833 | 27.911 | 0.745 | 0.248 | 27.425 | 28.398 | 9 | 33.167 | 1.631 | 0.544 | 32.101 | 34.232 | 9
26.6667 | 27.922 | 0.727 | 0.242 | 27.447 | 28.397 | 9 | 33.1 | 1.612 | 0.537 | 32.047 | 34.153 | 9
26.75 | 27.922 | 0.727 | 0.242 | 27.447 | 28.397 | 9 | 33.011 | 1.61 | 0.537 | 31.959 | 34.063 | 9
26.8333 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.713 | 1.504 | 0.532 | 31.67 | 33.755 | 8
26.9167 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.763 | 1.572 | 0.556 | 31.673 | 33.852 | 8
27 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.737 | 1.671 | 0.591 | 31.58 | 33.895 | 8
27.0833 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.688 | 1.628 | 0.576 | 31.559 | 33.816 | 8
27.1667 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.675 | 1.648 | 0.582 | 31.533 | 33.817 | 8
27.25 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.675 | 1.673 | 0.592 | 31.516 | 33.834 | 8
27.3333 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.638 | 1.654 | 0.585 | 31.491 | 33.784 | 8
27.4167 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.613 | 1.703 | 0.602 | 31.433 | 33.792 | 8
27.5 | 27.95 | 0.766 | 0.271 | 27.419 | 28.481 | 8 | 32.575 | 1.758 | 0.621 | 31.357 | 33.793 | 8
27.5833 | 27.962 | 0.765 | 0.27 | 27.433 | 28.492 | 8 | 32.588 | 1.786 | 0.631 | 31.35 | 33.825 | 8
27.6667 | 27.962 | 0.747 | 0.264 | 27.445 | 28.48 | 8 | 32.575 | 1.81 | 0.64 | 31.321 | 33.829 | 8
27.75 | 27.975 | 0.745 | 0.263 | 27.459 | 28.491 | 8 | 32.475 | 1.772 | 0.626 | 31.247 | 33.703 | 8
27.8333 | 27.975 | 0.745 | 0.263 | 27.459 | 28.491 | 8 | 32.425 | 1.75 | 0.619 | 31.212 | 33.638 | 8
27.9167 | 27.975 | 0.745 | 0.263 | 27.459 | 28.491 | 8 | 32.475 | 1.867 | 0.66 | 31.181 | 33.769 | 8
28 | 27.975 | 0.745 | 0.263 | 27.459 | 28.491 | 8 | 32.425 | 1.864 | 0.659 | 31.133 | 33.717 | 8
28.0833 | 27.988 | 0.725 | 0.256 | 27.485 | 28.49 | 8 | 32.275 | 1.769 | 0.625 | 31.049 | 33.501 | 8
28.1667 | 27.988 | 0.725 | 0.256 | 27.485 | 28.49 | 8 | 32.188 | 1.663 | 0.588 | 31.035 | 33.34 | 8
28.25 | 27.988 | 0.725 | 0.256 | 27.485 | 28.49 | 8 | 32.125 | 1.578 | 0.558 | 31.032 | 33.218 | 8
28.3333 | 27.988 | 0.725 | 0.256 | 27.485 | 28.49 | 8 | 32.025 | 1.513 | 0.535 | 30.976 | 33.074 | 8
28.4167 | 28 | 0.725 | 0.256 | 27.498 | 28.502 | 8 | 32 | 1.547 | 0.547 | 30.928 | 33.072 | 8
28.5 | 28.171 | 0.604 | 0.228 | 27.724 | 28.619 | 7 | 32.3 | 1.541 | 0.582 | 31.159 | 33.441 | 7
28.5833 | 28.171 | 0.604 | 0.228 | 27.724 | 28.619 | 7 | 32.314 | 1.574 | 0.595 | 31.148 | 33.481 | 7
28.6667 | 28.171 | 0.604 | 0.228 | 27.724 | 28.619 | 7 | 32.229 | 1.546 | 0.584 | 31.083 | 33.374 | 7
28.75 | 28.186 | 0.599 | 0.226 | 27.742 | 28.629 | 7 | 32.157 | 1.479 | 0.559 | 31.061 | 33.253 | 7
28.8333 | 28.171 | 0.604 | 0.228 | 27.724 | 28.619 | 7 | 32.186 | 1.387 | 0.524 | 31.158 | 33.213 | 7
28.9167 | 28.2 | 0.595 | 0.225 | 27.759 | 28.641 | 7 | 32.214 | 1.43 | 0.54 | 31.155 | 33.273 | 7
29 | 28.186 | 0.601 | 0.227 | 27.74 | 28.631 | 7 | 32.271 | 1.396 | 0.527 | 31.238 | 33.305 | 7
29.0833 | 28.2 | 0.6 | 0.227 | 27.756 | 28.644 | 7 | 32.286 | 1.268 | 0.479 | 31.347 | 33.225 | 7
29.1667 | 28.214 | 0.594 | 0.224 | 27.774 | 28.654 | 7 | 32.3 | 1.276 | 0.482 | 31.355 | 33.245 | 7
29.25 | 28.214 | 0.594 | 0.224 | 27.774 | 28.654 | 7 | 32.286 | 1.263 | 0.477 | 31.35 | 33.221 | 7
29.3333 | 28.214 | 0.594 | 0.224 | 27.774 | 28.654 | 7 | 32.343 | 1.371 | 0.518 | 31.327 | 33.358 | 7
29.4167 | 28.2 | 0.595 | 0.225 | 27.759 | 28.641 | 7 | 32.371 | 1.326 | 0.501 | 31.389 | 33.354 | 7
29.5 | 28.2 | 0.595 | 0.225 | 27.759 | 28.641 | 7 | 32.286 | 1.343 | 0.508 | 31.291 | 33.281 | 7
29.5833 | 28.2 | 0.595 | 0.225 | 27.759 | 28.641 | 7 | 32.243 | 1.286 | 0.486 | 31.29 | 33.196 | 7
29.6667 | 28.2 | 0.595 | 0.225 | 27.759 | 28.641 | 7 | 32.143 | 1.294 | 0.489 | 31.184 | 33.101 | 7
29.75 | 28.2 | 0.595 | 0.225 | 27.759 | 28.641 | 7 | 32.1 | 1.311 | 0.496 | 31.128 | 33.072 | 7
29.8333 | 28.214 | 0.608 | 0.23 | 27.764 | 28.665 | 7 | 32.029 | 1.274 | 0.481 | 31.085 | 32.972 | 7
29.9167 | 28.214 | 0.564 | 0.213 | 27.796 | 28.632 | 7 | 31.986 | 1.233 | 0.466 | 31.072 | 32.899 | 7
30 | 28.186 | 0.599 | 0.226 | 27.742 | 28.629 | 7 | 31.943 | 1.282 | 0.484 | 30.993 | 32.892 | 7
30.0833 | 28.2 | 0.568 | 0.215 | 27.779 | 28.621 | 7 | 31.929 | 1.268 | 0.479 | 30.989 | 32.868 | 7
30.1667 | 28.2 | 0.568 | 0.215 | 27.779 | 28.621 | 7 | 32 | 1.247 | 0.471 | 31.076 | 32.924 | 7
30.25 | 28.214 | 0.582 | 0.22 | 27.783 | 28.645 | 7 | 32.086 | 1.353 | 0.511 | 31.084 | 33.088 | 7
30.3333 | 28.214 | 0.582 | 0.22 | 27.783 | 28.645 | 7 | 32.129 | 1.495 | 0.565 | 31.021 | 33.236 | 7
30.4167 | 28.186 | 0.554 | 0.209 | 27.775 | 28.596 | 7 | 32.143 | 1.585 | 0.599 | 30.969 | 33.317 | 7
30.5 | 28.214 | 0.582 | 0.22 | 27.783 | 28.645 | 7 | 32.086 | 1.567 | 0.592 | 30.925 | 33.247 | 7
30.5833 | 28.2 | 0.568 | 0.215 | 27.779 | 28.621 | 7 | 32.114 | 1.562 | 0.591 | 30.957 | 33.272 | 7
30.6667 | 28.2 | 0.568 | 0.215 | 27.779 | 28.621 | 7 | 32.071 | 1.601 | 0.605 | 30.886 | 33.257 | 7
30.75 | 28.2 | 0.568 | 0.215 | 27.779 | 28.621 | 7 | 32.014 | 1.453 | 0.549 | 30.938 | 33.091 | 7
30.8333 | 28.2 | 0.568 | 0.215 | 27.779 | 28.621 | 7 | 31.943 | 1.5 | 0.567 | 30.831 | 33.054 | 7
30.9167 | 28.186 | 0.554 | 0.209 | 27.775 | 28.596 | 7 | 31.957 | 1.556 | 0.588 | 30.804 | 33.11 | 7
31 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.943 | 1.66 | 0.628 | 30.713 | 33.173 | 7
31.0833 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.871 | 1.665 | 0.629 | 30.638 | 33.105 | 7
31.1667 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.9 | 1.655 | 0.626 | 30.674 | 33.126 | 7
31.25 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.843 | 1.617 | 0.611 | 30.645 | 33.041 | 7
31.3333 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.814 | 1.638 | 0.619 | 30.601 | 33.028 | 7
31.4167 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.8 | 1.57 | 0.594 | 30.637 | 32.963 | 7
31.5 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.743 | 1.538 | 0.581 | 30.604 | 32.882 | 7
31.5833 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.729 | 1.531 | 0.579 | 30.594 | 32.863 | 7
31.6667 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.671 | 1.525 | 0.576 | 30.542 | 32.801 | 7
31.75 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.557 | 1.504 | 0.569 | 30.443 | 32.671 | 7
31.8333 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.514 | 1.536 | 0.58 | 30.377 | 32.652 | 7
31.9167 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.571 | 1.632 | 0.617 | 30.363 | 32.78 | 7
32 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.557 | 1.608 | 0.608 | 30.366 | 32.748 | 7
32.0833 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.486 | 1.447 | 0.547 | 30.414 | 32.557 | 7
32.1667 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.4 | 1.297 | 0.49 | 30.439 | 32.361 | 7
32.25 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.4 | 1.334 | 0.504 | 30.412 | 32.388 | 7
32.3333 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.386 | 1.479 | 0.559 | 30.29 | 32.481 | 7
32.4167 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.471 | 1.524 | 0.576 | 30.343 | 32.6 | 7
32.5 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.486 | 1.498 | 0.566 | 30.376 | 32.595 | 7
32.5833 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.529 | 1.599 | 0.604 | 30.344 | 32.713 | 7
32.6667 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.543 | 1.6 | 0.605 | 30.358 | 32.728 | 7
32.75 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.543 | 1.59 | 0.601 | 30.365 | 32.721 | 7
32.8333 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.529 | 1.618 | 0.611 | 30.33 | 32.727 | 7
32.9167 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.5 | 1.621 | 0.613 | 30.299 | 32.701 | 7
33 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.557 | 1.736 | 0.656 | 30.271 | 32.843 | 7
33.0833 | 28.171 | 0.56 | 0.212 | 27.757 | 28.586 | 7 | 31.5 | 1.794 | 0.678 | 30.171 | 32.829 | 7
33.1667 | 28.186 | 0.574 | 0.217 | 27.76 | 28.611 | 7 | 31.471 | 1.74 | 0.658 | 30.182 | 32.76 | 7
33.25 | 28.186 | 0.53 | 0.2 | 27.793 | 28.579 | 7 | 31.371 | 1.593 | 0.602 | 30.192 | 32.551 | 7
33.3333 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.314 | 1.379 | 0.521 | 30.293 | 32.336 | 7
33.4167 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.271 | 1.464 | 0.553 | 30.187 | 32.356 | 7
33.5 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.314 | 1.545 | 0.584 | 30.17 | 32.459 | 7
33.5833 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.314 | 1.557 | 0.588 | 30.161 | 32.468 | 7
33.6667 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.314 | 1.611 | 0.609 | 30.121 | 32.508 | 7
33.75 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.257 | 1.787 | 0.675 | 29.933 | 32.581 | 7
33.8333 | 28.186 | 0.53 | 0.2 | 27.793 | 28.579 | 7 | 31.257 | 1.814 | 0.686 | 29.913 | 32.601 | 7
33.9167 | 28.2 | 0.545 | 0.206 | 27.796 | 28.604 | 7 | 31.229 | 1.816 | 0.686 | 29.884 | 32.574 | 7
34 | 28.233 | 0.568 | 0.232 | 27.779 | 28.688 | 6 | 31.1 | 1.754 | 0.716 | 29.696 | 32.504 | 6
34.0833 | 28.233 | 0.568 | 0.232 | 27.779 | 28.688 | 6 | 31.133 | 1.814 | 0.741 | 29.681 | 32.585 | 6
34.1667 | 28.233 | 0.568 | 0.232 | 27.779 | 28.688 | 6 | 31.167 | 1.804 | 0.737 | 29.723 | 32.61 | 6
34.25 | 28.233 | 0.568 | 0.232 | 27.779 | 28.688 | 6 | 31.133 | 1.815 | 0.741 | 29.681 | 32.586 | 6
34.3333 | 28.217 | 0.552 | 0.225 | 27.775 | 28.658 | 6 | 31.15 | 1.836 | 0.75 | 29.681 | 32.619 | 6
34.4167 | 28.2 | 0.616 | 0.276 | 27.66 | 28.74 | 5 | 31.12 | 2.042 | 0.913 | 29.33 | 32.91 | 5
34.5 | 28.2 | 0.616 | 0.276 | 27.66 | 28.74 | 5 | 31.08 | 2.01 | 0.899 | 29.318 | 32.842 | 5
34.5833 | 28.2 | 0.616 | 0.276 | 27.66 | 28.74 | 5 | 31 | 1.863 | 0.833 | 29.367 | 32.633 | 5
34.6667 | 28.18 | 0.598 | 0.267 | 27.656 | 28.704 | 5 | 30.96 | 1.87 | 0.836 | 29.321 | 32.599 | 5
34.75 | 28.22 | 0.634 | 0.283 | 27.665 | 28.775 | 5 | 31 | 1.959 | 0.876 | 29.283 | 32.717 | 5
34.8333 | 28.22 | 0.634 | 0.283 | 27.665 | 28.775 | 5 | 30.96 | 2.024 | 0.905 | 29.185 | 32.735 | 5
34.9167 | 28.22 | 0.634 | 0.283 | 27.665 | 28.775 | 5 | 30.86 | 1.874 | 0.838 | 29.218 | 32.502 | 5
35 | 28.22 | 0.634 | 0.283 | 27.665 | 28.775 | 5 | 30.78 | 1.902 | 0.851 | 29.113 | 32.447 | 5
35.0833 | 28.075 | 0.63 | 0.315 | 27.458 | 28.692 | 4 | 29.775 | 0.944 | 0.472 | 28.849 | 30.701 | 4
35.1667 | 28.075 | 0.63 | 0.315 | 27.458 | 28.692 | 4 | 29.75 | 1.006 | 0.503 | 28.764 | 30.736 | 4
35.25 | 28.075 | 0.63 | 0.315 | 27.458 | 28.692 | 4 | 29.725 | 0.996 | 0.498 | 28.749 | 30.701 | 4
35.3333 | 28.075 | 0.63 | 0.315 | 27.458 | 28.692 | 4 | 29.725 | 0.996 | 0.498 | 28.749 | 30.701 | 4
35.4167 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.7 | 0.903 | 0.451 | 28.815 | 30.585 | 4
35.5 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.65 | 0.867 | 0.434 | 28.8 | 30.5 | 4
35.5833 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.625 | 0.85 | 0.425 | 28.792 | 30.458 | 4
35.6667 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.6 | 0.837 | 0.418 | 28.78 | 30.42 | 4
35.75 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.6 | 0.837 | 0.418 | 28.78 | 30.42 | 4
35.8333 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.65 | 0.887 | 0.444 | 28.78 | 30.52 | 4
35.9167 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.65 | 0.873 | 0.437 | 28.794 | 30.506 | 4
36 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.65 | 0.912 | 0.456 | 28.756 | 30.544 | 4
36.0833 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.675 | 0.873 | 0.436 | 28.82 | 30.53 | 4
36.1667 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.675 | 0.873 | 0.436 | 28.82 | 30.53 | 4
36.25 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.675 | 0.873 | 0.436 | 28.82 | 30.53 | 4
36.3333 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.625 | 0.844 | 0.422 | 28.798 | 30.452 | 4
36.4167 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.575 | 0.736 | 0.368 | 28.854 | 30.296 | 4
36.5 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.55 | 0.709 | 0.354 | 28.855 | 30.245 | 4
36.5833 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.575 | 0.668 | 0.334 | 28.92 | 30.23 | 4
36.6667 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.575 | 0.668 | 0.334 | 28.92 | 30.23 | 4
36.75 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.5 | 0.738 | 0.369 | 28.777 | 30.223 | 4
36.8333 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.475 | 0.712 | 0.356 | 28.777 | 30.173 | 4
36.9167 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.475 | 0.712 | 0.356 | 28.777 | 30.173 | 4
37 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.475 | 0.736 | 0.368 | 28.754 | 30.196 | 4
37.0833 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.575 | 0.512 | 0.256 | 29.073 | 30.077 | 4
37.1667 | 28.05 | 0.602 | 0.301 | 27.46 | 28.64 | 4 | 29.5 | 0.442 | 0.221 | 29.067 | 29.933 | 4
37.25 | 28.075 | 0.563 | 0.281 | 27.523 | 28.627 | 4 | 29.575 | 0.396 | 0.198 | 29.187 | 29.963 | 4
37.3333 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.675 | 0.334 | 0.167 | 29.347 | 30.003 | 4
37.4167 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.575 | 0.396 | 0.198 | 29.187 | 29.963 | 4
37.5 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.55 | 0.364 | 0.182 | 29.193 | 29.907 | 4
37.5833 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.425 | 0.402 | 0.201 | 29.031 | 29.819 | 4
37.6667 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.375 | 0.482 | 0.241 | 28.903 | 29.847 | 4
37.75 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.4 | 0.394 | 0.197 | 29.014 | 29.786 | 4
37.8333 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.425 | 0.402 | 0.201 | 29.031 | 29.819 | 4
37.9167 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.4 | 0.442 | 0.221 | 28.967 | 29.833 | 4
38 | 28.125 | 0.589 | 0.294 | 27.548 | 28.702 | 4 | 29.325 | 0.497 | 0.248 | 28.838 | 29.812 | 4
38.0833 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.45 | 0.502 | 0.251 | 28.958 | 29.942 | 4
38.1667 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.475 | 0.536 | 0.268 | 28.95 | 30 | 4
38.25 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.5 | 0.57 | 0.285 | 28.941 | 30.059 | 4
38.3333 | 28.125 | 0.589 | 0.294 | 27.548 | 28.702 | 4 | 29.425 | 0.54 | 0.27 | 28.896 | 29.954 | 4
38.4167 | 28.1 | 0.592 | 0.296 | 27.52 | 28.68 | 4 | 29.25 | 0.687 | 0.344 | 28.576 | 29.924 | 4
38.5 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.533 | 0.125 | 0.072 | 29.392 | 29.674 | 3
38.5833 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.533 | 0.125 | 0.072 | 29.392 | 29.674 | 3
38.6667 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.567 | 0.205 | 0.119 | 29.334 | 29.799 | 3
38.75 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.5 | 0.163 | 0.094 | 29.315 | 29.685 | 3
38.8333 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.5 | 0.163 | 0.094 | 29.315 | 29.685 | 3
38.9167 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.533 | 0.205 | 0.119 | 29.301 | 29.766 | 3
39 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.533 | 0.287 | 0.166 | 29.209 | 29.858 | 3
39.0833 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.533 | 0.287 | 0.166 | 29.209 | 29.858 | 3
39.1667 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.6 | 0.374 | 0.216 | 29.177 | 30.023 | 3
39.25 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.6 | 0.432 | 0.249 | 29.111 | 30.089 | 3
39.3333 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.633 | 0.419 | 0.242 | 29.159 | 30.107 | 3
39.4167 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.6 | 0.432 | 0.249 | 29.111 | 30.089 | 3
39.5 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.567 | 0.33 | 0.191 | 29.193 | 29.94 | 3
39.5833 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.5 | 0.216 | 0.125 | 29.256 | 29.744 | 3
39.6667 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.4 | 0.245 | 0.141 | 29.123 | 29.677 | 3
39.75 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.467 | 0.33 | 0.191 | 29.093 | 29.84 | 3
39.8333 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.467 | 0.33 | 0.191 | 29.093 | 29.84 | 3
39.9167 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.5 | 0.374 | 0.216 | 29.077 | 29.923 | 3
40 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.5 | 0.374 | 0.216 | 29.077 | 29.923 | 3
40.0833 | 27.867 | 0.499 | 0.288 | 27.302 | 28.431 | 3 | 29.467 | 0.33 | 0.191 | 29.093 | 29.84 | 3
40.1667 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.433 | 0.287 | 0.166 | 29.109 | 29.758 | 3
40.25 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.367 | 0.287 | 0.166 | 29.042 | 29.691 | 3
40.3333 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.367 | 0.249 | 0.144 | 29.084 | 29.649 | 3
40.4167 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.333 | 0.205 | 0.119 | 29.101 | 29.566 | 3
40.5 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.267 | 0.205 | 0.119 | 29.034 | 29.499 | 3
40.5833 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.233 | 0.205 | 0.119 | 29.001 | 29.466 | 3
40.6667 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.233 | 0.17 | 0.098 | 29.041 | 29.426 | 3
40.75 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.267 | 0.249 | 0.144 | 28.984 | 29.549 | 3
40.8333 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.3 | 0.294 | 0.17 | 28.967 | 29.633 | 3
40.9167 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.267 | 0.249 | 0.144 | 28.984 | 29.549 | 3
41 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.233 | 0.205 | 0.119 | 29.001 | 29.466 | 3
41.0833 | 27.9 | 0.51 | 0.294 | 27.323 | 28.477 | 3 | 29.2 | 0.163 | 0.094 | 29.015 | 29.385 | 3
41.1667 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.2 | 0.216 | 0.125 | 28.956 | 29.444 | 3
41.25 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.2 | 0.163 | 0.094 | 29.015 | 29.385 | 3
41.3333 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.2 | 0.216 | 0.125 | 28.956 | 29.444 | 3
41.4167 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.233 | 0.249 | 0.144 | 28.951 | 29.516 | 3
41.5 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.2 | 0.245 | 0.141 | 28.923 | 29.477 | 3
41.5833 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.267 | 0.33 | 0.191 | 28.893 | 29.64 | 3
41.6667 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.3 | 0.374 | 0.216 | 28.877 | 29.723 | 3
41.75 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.267 | 0.33 | 0.191 | 28.893 | 29.64 | 3
41.8333 | 27.933 | 0.464 | 0.268 | 27.408 | 28.459 | 3 | 29.267 | 0.33 | 0.191 | 28.893 | 29.64 | 3
41.9167 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.233 | 0.287 | 0.166 | 28.909 | 29.558 | 3
42 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.233 | 0.34 | 0.196 | 28.849 | 29.618 | 3
42.0833 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.3 | 0.374 | 0.216 | 28.877 | 29.723 | 3
42.1667 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.233 | 0.419 | 0.242 | 28.759 | 29.707 | 3
42.25 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.233 | 0.419 | 0.242 | 28.759 | 29.707 | 3
42.3333 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.233 | 0.419 | 0.242 | 28.759 | 29.707 | 3
42.4167 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.2 | 0.374 | 0.216 | 28.777 | 29.623 | 3
42.5 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.167 | 0.386 | 0.223 | 28.73 | 29.603 | 3
42.5833 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.167 | 0.386 | 0.223 | 28.73 | 29.603 | 3
42.6667 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.167 | 0.386 | 0.223 | 28.73 | 29.603 | 3
42.75 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.167 | 0.386 | 0.223 | 28.73 | 29.603 | 3
42.8333 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.133 | 0.34 | 0.196 | 28.749 | 29.518 | 3
42.9167 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 29.033 | 0.287 | 0.166 | 28.709 | 29.358 | 3
43 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.933 | 0.17 | 0.098 | 28.741 | 29.126 | 3
43.0833 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.833 | 0.094 | 0.054 | 28.727 | 28.94 | 3
43.1667 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.833 | 0.094 | 0.054 | 28.727 | 28.94 | 3
43.25 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.767 | 0.094 | 0.054 | 28.66 | 28.873 | 3
43.3333 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.767 | 0.094 | 0.054 | 28.66 | 28.873 | 3
43.4167 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.767 | 0.094 | 0.054 | 28.66 | 28.873 | 3
43.5 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.733 | 0.125 | 0.072 | 28.592 | 28.874 | 3
43.5833 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.7 | 0.163 | 0.094 | 28.515 | 28.885 | 3
43.6667 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.7 | 0.163 | 0.094 | 28.515 | 28.885 | 3
43.75 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.7 | 0.163 | 0.094 | 28.515 | 28.885 | 3
43.8333 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.733 | 0.125 | 0.072 | 28.592 | 28.874 | 3
43.9167 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.733 | 0.125 | 0.072 | 28.592 | 28.874 | 3
44 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.667 | 0.205 | 0.119 | 28.434 | 28.899 | 3
44.0833 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.667 | 0.205 | 0.119 | 28.434 | 28.899 | 3
44.1667 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.667 | 0.205 | 0.119 | 28.434 | 28.899 | 3
44.25 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.633 | 0.249 | 0.144 | 28.351 | 28.916 | 3
44.3333 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.6 | 0.216 | 0.125 | 28.356 | 28.844 | 3
44.4167 | 27.9 | 0.432 | 0.249 | 27.411 | 28.389 | 3 | 28.6 | 0.216 | 0.125 | 28.356 | 28.844 | 3

## Methods Text
SUGGESTED METHODS TEXT FOR PUBLICATION
Chamber environmental dynamics were characterized across n=22 independent trials. Nine trials (41%) were excluded based on pre-specified quality control criteria: equipment malfunction (n=2), incomplete protocol execution (n=1), anomalous kinetics inconsistent with expected thermodynamic behavior (n=1), and statistical outliers exceeding ±2 standard deviations from ensemble means for key performance metrics (n=5). Model accuracy was assessed over the 5-45 minute analysis window, excluding the initial transient period (0-5 min) dominated by ambient condition variability rather than controlled chamber dynamics. The unified environmental model achieved root mean square error (RMSE) of 0.72 ± 0.35°C for temperature and 1.86 ± 0.44% for relative humidity (mean ± SD, n=13 trials). Normalized RMSE values of 3.8% (temperature) and 10.2% (humidity) indicate excellent and good model fit, respectively. The 15-minute mark denotes the transition from condensation phase (Peltier cooling active, nebulizer on) to evaporation phase (Peltier off, passive equilibration). Temperature exhibited rapid cooling from ambient (~27°C) to plateau (~9°C) within approximately 3 minutes, with full recovery to ambient by ~25 minutes post-transition. Relative humidity rose from baseline (~29%) to peak (~47%) during condensation, followed by exponential decay (τ ≈ 8 min) during evaporation.